## Overview
LEO Rainfall calibration, Multi 1, July 2020
Calibration was performed by placing 156 cups on each hillslope (2m resolution uphill, 1m resolution across)
Addditionally 2 duplicate cups were placed at locations 2,5 and 28,5 to get a rough impresseion of the local variability.
For each hillslope a 1h rain event was perfromed from 8:30-9:30, on July 9 (Center), July 15 (East), and July 22 (West)
During the rain all air handlers were turned off.
Due to warm temperatures cooling of the bays was set to maximum after the rain event with all air handlers on.
Immediatelly after the rain stopped, control cups filled with water were placed at 5 locations around the hillslope to get a rough estimate of the evaporation.
The 5 locations are: -5, 0 and +5 upslope on the frame of the hillslope, -5 and +5 downslope on the wall just south of the hillslopes.
Cups were collected, weighted, and returned to their locations few times during the collection of the cups on the hillslope.
In this excel sheet a simple linear regresseion which includes all 5 locations was performed to estimate evaporation for all cups.
The cups on the hillslopes were collected with the gantry. When collected they were immediately sealed with cling wrap.
For the estimation of evaporation, we assume that no evaporation occurred between sealing the cups and weighing them.
Evaporation is relatively small for Center and East.
When collecting the cups for the West slope, the gantry broke after collecting about 1/3 of the cups.
Repair of the gantry took a few hours, so that for the reamaining cups evaporation becomes relevant and introduces some uncertainty.
Before weighing the cups, the cling wrap was removed and dirt was cleaned away as good as possible.
Some dirt remained within the cups. Weighing the dirt of few cups the next day showed that the weight is only in the order of 0.1g.
Weight of the dirt was therefore neglected in this excel sheet.
If you have any questions feel free to contact:
Hannes Bauser, hbauser@arizona.edu
Aaron Bugaj, bugaja@arizona.edu
Wei-Ren Ng, weiren@arizona.edu
Minseok Kim, minseokkim@arizona.edu

## Center
LEO Rainfall Distribution Calibration, Multi 1, Center
2020-07-09
Rain duration: 1h (8:30 - 9:30)
Air handelers off during rain
Weight of empty cups [g]:
| -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | duplicate 5
28 | 14.7 | 14.7 | 15.1 | 14.7 | 14.8 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.8 | 15
26 | 15 | 14.7 | 15 | 14.7 | 15.1 | 15.1 | 15 | 14.8 | 14.7 | 15 | 15
24 | 15 | 15.1 | 15 | 14.9 | 14.7 | 14.7 | 14.7 | 15 | 15 | 15.1 | 14.8
22 | 15 | 15.1 | 15.1 | 14.7 | 15.1 | 15 | 15 | 14.7 | 15.1 | 15 | 14.7
20 | 14.7 | 15.1 | 15 | 14.7 | 15.1 | 14.7 | 15 | 15.1 | 14.7 | 15 | 14.8
18 | 15.1 | 15.1 | 15 | 15 | 15 | 15 | 15.1 | 15.1 | 15.1 | 14.7 | 15
16 | 14.7 | 15 | 15 | 15 | 15.1 | 15.1 | 15.1 | 15 | 15.1 | 14.7 | 15
14 | 15 | 15 | 14.7 | 14.7 | 15 | 14.8 | 14.7 | 14.7 | 14.7 | 15 | 14.7
12 | 15 | 15 | 14.7 | 14.7 | 15 | 14.7 | 15 | 14.7 | 15.1 | 15 | 15
10 | 15 | 14.7 | 15.1 | 14.7 | 15 | 15 | 15.1 | 14.8 | 15 | 15 | 14.7
8 | 15.1 | 15 | 14.7 | 14.7 | 15 | 14.7 | 15.1 | 15.1 | 15 | 14.7 | 14.7
6 | 15.1 | 14.7 | 14.7 | 15 | 14.7 | 15 | 15 | 14.7 | 14.7 | 14.7 | 14.8
4 | 14.7 | 15 | 14.8 | 14.7 | 15 | 15 | 14.7 | 14.7 | 14.7 | 14.7 | 14.8
2 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.8 | 14.8 | 14.7 | 15 | 15.1 | 15.1 | 14.7
Weight of full cups:
| -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | duplicate 5 |  | Comments:
28 | 89.05 | 70.74 | 58.82 | 59.88 | 69.36 | 71.08 | 65.75 | 57.02 | 52.72 | 63.3 | 70.17 | 67.18 |  | Cup 10,-5 was dropped, no data
26 | 48.08 | 73.59 | 72.36 | 69.53 | 82.52 | 89.9 | 76.5 | nan | 58.23 | 60.28 | 51.28 |  |  | Cup 8,3 had small cracks at bottom. Testing afterwards showed that no water was leaking
24 | 25.15 | 49.15 | 70.32 | 75.03 | 81.03 | 81.6 | 76.75 | 76.11 | 81.77 | 67.4 | 62.27 |  |  | Cup 4,15 had a crack at the top, no water loss expected
22 | 32.98 | 66.08 | 63.05 | 65.12 | 70.39 | 73.55 | 71.84 | 64.82 | 72.53 | 83.97 | 54.99 |  |  | Cup 26,2 had a crossed out value noted down (72.36g)
20 | 71.01 | 75.01 | 79.81 | 74.78 | 69.46 | 63.6 | 62.91 | 64.09 | 67.59 | 72.43 | 67.71
18 | 34.69 | 54.91 | 56.58 | 63.9 | 77.81 | 84.65 | 74.82 | 66.83 | 62.73 | 70.76 | 41.1
16 | 54.28 | 51.04 | 58.5 | 67.51 | 74.96 | 74.5 | 62.71 | 55.81 | 67.44 | 52.66 | 44.34
14 | 40.83 | 50.26 | 54.31 | 61.61 | 70.55 | 75.36 | 68.58 | 61.69 | 53.92 | 60.99 | 55.62
12 | 68.76 | 65.64 | 64.82 | 57.51 | 53.46 | 55.63 | 54 | 56.32 | 61.92 | 60.86 | 34.45
10 | nan | 72.5 | 63.28 | 51.42 | 47.83 | 50.16 | 50.63 | 57.62 | 65.52 | 70.18 | 56.03
8 | 52.92 | 66.55 | 61.36 | 58 | 61.81 | 62.73 | 60.06 | 52.9 | 60.6 | 66.13 | 51.76
6 | 64.65 | 75.26 | 72.34 | 66.74 | 70.13 | 72.43 | 64.54 | 59.12 | 65.14 | 51.09 | 39.2
4 | 52.27 | 82.72 | 77.14 | 72.32 | 72.56 | 75.75 | 73.45 | 63.18 | 62.77 | 59.99 | 49.58
2 | 64.09 | 57.5 | 60.98 | 61.54 | 60.46 | 61.56 | 56.41 | 54.61 | 54.72 | 59.6 | 34.58 | 37.85
Control cups for estimation of evaporation:
Control 1, Location: Uppslope East (+5), dry weight: 14.7g | [5 empty] | Control 2, Location: Uppslope center (0), dry weight: 14.7g | [5 empty] | Control 3, Location: Uppslope West (-5), dry weight: 15.1g
Time | Minutes since rain end |  | weight [g] | evap. [g] |  | Time | Minutes since rain end |  | weight [g] | evap. [g] |  | Time | Minutes since rain end | weight [g] | evap. [g]
9:30 | 0 |  | 114.8 | 0 |  | 9:31 | 1 |  | 114.4 | 0 |  | 9:31 | 1 | 108.6 | 0
10:30 | 60 |  | 114.58 | -0.22 |  | 10:30 | 60 |  | 113.92 | -0.48 |  | 10:30 | 60 | 108.21 | -0.39
11:22 | 112 |  | 114.1 | -0.7 |  | 11:22 | 112 |  | 113.2 | -1.2 |  | 11:22 | 112 | 107.65 | -0.95
11:47 | 137 |  | 113.81 | -0.99 |  | 11:48 | 138 |  | 112.68 | -1.72 |  | 11:48 | 138 | 107.24 | -1.36
Control 4, Location: Downslope East (+5), dry weight: 14.7g | [5 empty] | Control 5, Location: Downslope West (-5), dry weight: 14.7g
Time | Minutes since rain end |  | weight [g] | evap. [g] |  | Time | Minutes since rain end |  | weight [g] | evap. [g]
9:32 | 2 |  | 112.4 | 0 |  | 9:32 | 2 |  | 106.8 | 0
10:30 | 60 |  | 111.61 | -0.79 |  | 10:30 | 60 |  | 105.85 | -0.95
11:27 | 117 |  | 110.77 | -1.63 |  | 11:27 | 117 |  | 104.96 | -1.84
Data for regression:
time [min] | 60 | 112 | 137 | 59 | 111 | 137 | 59 | 111 | 137 | 58 | 115 | 58 | 115
evap [g] | 0.22 | 0.7 | 0.99 | 0.48 | 1.2 | 1.72 | 0.39 | 0.95 | 1.36 | 0.79 | 1.63 | 0.95 | 1.84
Result (time 0 is forced to be 0) [g/min]:
0.010487 | 0
Assumed time since rain end (for cup collection, when sealed with sealing wrap) [min]
| -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | duplicate 5
28 | 126 | 110 | 110 | 90 | 90 | 70 | 70 | 50 | 50 | 30 | 30 | 30
26 | 125.1538 | 108.8462 | 108.8462 | 88.8462 | 88.8462 | 68.8462 | 68.8462 | 48.8462 | 48.8462 | 28.8462 | 28.8462
24 | 124.3077 | 107.6923 | 107.6923 | 87.6923 | 87.6923 | 67.6923 | 67.6923 | 47.6923 | 47.6923 | 27.6923 | 27.6923
22 | 123.4615 | 106.5385 | 106.5385 | 86.5385 | 86.5385 | 66.5385 | 66.5385 | 46.5385 | 46.5385 | 26.5385 | 26.5385
20 | 122.6154 | 105.3846 | 105.3846 | 85.3846 | 85.3846 | 65.3846 | 65.3846 | 45.3846 | 45.3846 | 25.3846 | 25.3846
18 | 121.7692 | 104.2308 | 104.2308 | 84.2308 | 84.2308 | 64.2308 | 64.2308 | 44.2308 | 44.2308 | 24.2308 | 24.2308
16 | 120.9231 | 103.0769 | 103.0769 | 83.0769 | 83.0769 | 63.0769 | 63.0769 | 43.0769 | 43.0769 | 23.0769 | 23.0769
14 | 120.0769 | 101.9231 | 101.9231 | 81.9231 | 81.9231 | 61.9231 | 61.9231 | 41.9231 | 41.9231 | 21.9231 | 21.9231
12 | 119.2308 | 100.7692 | 100.7692 | 80.7692 | 80.7692 | 60.7692 | 60.7692 | 40.7692 | 40.7692 | 20.7692 | 20.7692
10 | 118.3846 | 99.6154 | 99.6154 | 79.6154 | 79.6154 | 59.6154 | 59.6154 | 39.6154 | 39.6154 | 19.6154 | 19.6154
8 | 117.5385 | 98.4615 | 98.4615 | 78.4615 | 78.4615 | 58.4615 | 58.4615 | 38.4615 | 38.4615 | 18.4615 | 18.4615
6 | 116.6923 | 97.3077 | 97.3077 | 77.3077 | 77.3077 | 57.3077 | 57.3077 | 37.3077 | 37.3077 | 17.3077 | 17.3077
4 | 115.8462 | 96.1538 | 96.1538 | 76.1538 | 76.1538 | 56.1538 | 56.1538 | 36.1538 | 36.1538 | 16.1538 | 16.1538
2 | 115 | 95 | 95 | 75 | 75 | 55 | 55 | 35 | 35 | 15 | 15 | 15
Estimated Evaporation [g]
| -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | duplicate 5
28 | 1.3213 | 1.1536 | 1.1536 | 0.94382 | 0.94382 | 0.73408 | 0.73408 | 0.52434 | 0.52434 | 0.31461 | 0.31461 | 0.31461
26 | 1.3125 | 1.1415 | 1.1415 | 0.93172 | 0.93172 | 0.72198 | 0.72198 | 0.51224 | 0.51224 | 0.3025 | 0.3025
24 | 1.3036 | 1.1294 | 1.1294 | 0.91961 | 0.91961 | 0.70988 | 0.70988 | 0.50014 | 0.50014 | 0.2904 | 0.2904
22 | 1.2947 | 1.1173 | 1.1173 | 0.90751 | 0.90751 | 0.69778 | 0.69778 | 0.48804 | 0.48804 | 0.2783 | 0.2783
20 | 1.2858 | 1.1052 | 1.1052 | 0.89541 | 0.89541 | 0.68568 | 0.68568 | 0.47594 | 0.47594 | 0.2662 | 0.2662
18 | 1.277 | 1.0931 | 1.0931 | 0.88331 | 0.88331 | 0.67358 | 0.67358 | 0.46384 | 0.46384 | 0.2541 | 0.2541
16 | 1.2681 | 1.081 | 1.081 | 0.87121 | 0.87121 | 0.66148 | 0.66148 | 0.45174 | 0.45174 | 0.242 | 0.242
14 | 1.2592 | 1.0689 | 1.0689 | 0.85911 | 0.85911 | 0.64938 | 0.64938 | 0.43964 | 0.43964 | 0.2299 | 0.2299
12 | 1.2504 | 1.0568 | 1.0568 | 0.84701 | 0.84701 | 0.63728 | 0.63728 | 0.42754 | 0.42754 | 0.2178 | 0.2178
10 | 1.2415 | 1.0447 | 1.0447 | 0.83491 | 0.83491 | 0.62518 | 0.62518 | 0.41544 | 0.41544 | 0.2057 | 0.2057
8 | 1.2326 | 1.0326 | 1.0326 | 0.82281 | 0.82281 | 0.61308 | 0.61308 | 0.40334 | 0.40334 | 0.1936 | 0.1936
6 | 1.2237 | 1.0204 | 1.0204 | 0.81071 | 0.81071 | 0.60098 | 0.60098 | 0.39124 | 0.39124 | 0.1815 | 0.1815
4 | 1.2149 | 1.0083 | 1.0083 | 0.79861 | 0.79861 | 0.58888 | 0.58888 | 0.37914 | 0.37914 | 0.1694 | 0.1694
2 | 1.206 | 0.99625 | 0.99625 | 0.78651 | 0.78651 | 0.57678 | 0.57678 | 0.36704 | 0.36704 | 0.1573 | 0.1573 | 0.1573
rain weight [g] (wet weight + evaporation - dry weight)
| -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | duplicate 5
28 | 75.6713 | 57.1936 | 44.8736 | 46.1238 | 55.5038 | 57.1141 | 51.7841 | 42.8443 | 38.5443 | 48.9146 | 55.6846 | 52.4946
26 | 34.3925 | 60.0315 | 58.5015 | 55.7617 | 68.3517 | 75.522 | 62.222 | #VALUE! | 44.0422 | 45.5825 | 36.5825
24 | 11.4536 | 35.1794 | 56.4494 | 61.0496 | 67.2496 | 67.6099 | 62.7599 | 61.6101 | 67.2701 | 52.5904 | 47.7604
22 | 19.2747 | 52.0973 | 49.0673 | 51.3275 | 56.1975 | 59.2478 | 57.5378 | 50.608 | 57.918 | 69.2483 | 40.5683
20 | 57.5958 | 61.0152 | 65.9152 | 60.9754 | 55.2554 | 49.5857 | 48.5957 | 49.4659 | 53.3659 | 57.6962 | 53.1762
18 | 20.867 | 40.9031 | 42.6731 | 49.7833 | 63.6933 | 70.3236 | 60.3936 | 52.1938 | 48.0938 | 56.3141 | 26.3541
16 | 40.8481 | 37.121 | 44.581 | 53.3812 | 60.7312 | 60.0615 | 48.2715 | 41.2617 | 52.7917 | 38.202 | 29.582
14 | 27.0892 | 36.3289 | 40.6789 | 47.7691 | 56.4091 | 61.2094 | 54.5294 | 47.4296 | 39.6596 | 46.2199 | 41.1499
12 | 55.0104 | 51.6968 | 51.1768 | 43.657 | 39.307 | 41.5673 | 39.6373 | 42.0475 | 47.2475 | 46.0778 | 19.6678
10 | #VALUE! | 58.8447 | 49.2247 | 37.5549 | 33.6649 | 35.7852 | 36.1552 | 43.2354 | 50.9354 | 55.3857 | 41.5357
8 | 39.0526 | 52.5826 | 47.6926 | 44.1228 | 47.6328 | 48.6431 | 45.5731 | 38.2033 | 46.0033 | 51.6236 | 37.2536
6 | 50.7737 | 61.5804 | 58.6604 | 52.5507 | 56.2407 | 58.031 | 50.141 | 44.8112 | 50.8312 | 36.5715 | 24.5815
4 | 38.7849 | 68.7283 | 63.3483 | 58.4186 | 58.3586 | 61.3389 | 59.3389 | 48.8591 | 48.4491 | 45.4594 | 34.9494
2 | 50.596 | 43.7962 | 47.2762 | 47.6265 | 46.5465 | 47.3368 | 42.1868 | 40.277 | 40.087 | 44.6573 | 19.6373 | 23.3073
assumed area of cups [mm2]:
3850
rain rate [mm/h]
| -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | duplicate 5
28 | 19.6549 | 14.8555 | 11.6555 | 11.9802 | 14.4166 | 14.8348 | 13.4504 | 11.1284 | 10.0115 | 12.7051 | 14.4635 | 13.635
26 | 8.9331 | 15.5926 | 15.1952 | 14.4836 | 17.7537 | 19.6161 | 16.1616 | #VALUE! | 11.4395 | 11.8396 | 9.5019
24 | 2.975 | 9.1375 | 14.6622 | 15.857 | 17.4674 | 17.561 | 16.3013 | 16.0026 | 17.4728 | 13.6598 | 12.4053
22 | 5.0064 | 13.5318 | 12.7447 | 13.3318 | 14.5968 | 15.389 | 14.9449 | 13.1449 | 15.0436 | 17.9866 | 10.5372
20 | 14.96 | 15.8481 | 17.1208 | 15.8378 | 14.3521 | 12.8794 | 12.6223 | 12.8483 | 13.8613 | 14.986 | 13.812
18 | 5.42 | 10.6242 | 11.0839 | 12.9307 | 16.5437 | 18.2659 | 15.6866 | 13.5568 | 12.4919 | 14.627 | 6.8452
16 | 10.6099 | 9.6418 | 11.5795 | 13.8653 | 15.7743 | 15.6004 | 12.538 | 10.7173 | 13.7121 | 9.9226 | 7.6836
14 | 7.0362 | 9.4361 | 10.5659 | 12.4076 | 14.6517 | 15.8985 | 14.1635 | 12.3194 | 10.3012 | 12.0052 | 10.6883
12 | 14.2884 | 13.4277 | 13.2927 | 11.3395 | 10.2096 | 10.7967 | 10.2954 | 10.9214 | 12.2721 | 11.9683 | 5.1085
10 | #VALUE! | 15.2843 | 12.7856 | 9.7545 | 8.7441 | 9.2949 | 9.391 | 11.23 | 13.23 | 14.3859 | 10.7885
8 | 10.1435 | 13.6578 | 12.3877 | 11.4605 | 12.3722 | 12.6346 | 11.8372 | 9.9229 | 11.9489 | 13.4087 | 9.6763
6 | 13.188 | 15.9949 | 15.2365 | 13.6495 | 14.608 | 15.073 | 13.0236 | 11.6393 | 13.2029 | 9.4991 | 6.3848
4 | 10.074 | 17.8515 | 16.4541 | 15.1737 | 15.1581 | 15.9322 | 15.4127 | 12.6907 | 12.5842 | 11.8076 | 9.0778
2 | 13.1418 | 11.3756 | 12.2795 | 12.3705 | 12.09 | 12.2953 | 10.9576 | 10.4616 | 10.4122 | 11.5993 | 5.1006 | 6.0538
| average | std
| 12.7093 | 2.943

## East
LEO Rainfall Distribution Calibration, Multi 1, East
2020-07-15
Rain duration: 1h (8:30 - 9:30)
Air handelers off during rain
Weight of empty cups [g]:
| -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | duplicate 5
28 | 14.7 | 14.7 | 15.1 | 14.7 | 14.8 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.8 | 15
26 | 15 | 14.7 | 15 | 14.7 | 15.1 | 15.1 | 15 | 14.8 | 14.7 | 15 | 15
24 | 15 | 15.1 | 15 | 14.9 | 14.7 | 14.7 | 14.7 | 15 | 15 | 15.1 | 14.8
22 | 15 | 15.1 | 15.1 | 14.7 | 15.1 | 15 | 15 | 14.7 | 15.1 | 15 | 14.7
20 | 14.7 | 15.1 | 15 | 14.7 | 15.1 | 14.7 | 15 | 15.1 | 14.7 | 15 | 14.8
18 | 15.1 | 15.1 | 15 | 15 | 15 | 15 | 15.1 | 15.1 | 15.1 | 14.7 | 15
16 | 14.7 | 15 | 15 | 15 | 15.1 | 15.1 | 15.1 | 15 | 15.1 | 14.7 | 15
14 | 15 | 15 | 14.7 | 14.7 | 15 | 14.8 | 14.7 | 14.7 | 14.7 | 15 | 14.7
12 | 15 | 15 | 14.7 | 14.7 | 15 | 14.7 | 15 | 14.7 | 15.1 | 15 | 15
10 | 15 | 14.7 | 15.1 | 14.7 | 15 | 15 | 15.1 | 14.8 | 15 | 15 | 14.7
8 | 15.1 | 15 | 14.7 | 14.7 | 15 | 14.7 | 15.1 | 15.1 | 15 | 14.7 | 14.7
6 | 15.1 | 14.7 | 14.7 | 15 | 14.7 | 15 | 15 | 14.7 | 14.7 | 14.7 | 14.8
4 | 14.7 | 15 | 14.8 | 14.7 | 15 | 15 | 14.7 | 14.7 | 14.7 | 14.7 | 14.8
2 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.8 | 14.8 | 14.7 | 15 | 15.1 | 15.1 | 14.7
Weight of full cups [g]:
| -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | duplicate 5
28 | 50.21 | 67.87 | 69.35 | 69.36 | 72.24 | 76.03 | 63.57 | 60.82 | 70.84 | 83.02 | 71.2 | 62.75
26 | 73.42 | 82.79 | 75.61 | 70.73 | 75.85 | 84.56 | 73.05 | 69.9 | 73.77 | 82.13 | 54.54
24 | 43.83 | 61.47 | 70.33 | 72.47 | 74.96 | 77.15 | 73.15 | 68.73 | 71.22 | 79.4 | 60.15
22 | 68.7 | 68.1 | 68.58 | 65.04 | 66.93 | 69.02 | 60.88 | 61.59 | 68.92 | 74.47 | 56.03
20 | 60.62 | 66.59 | 75.46 | 68.29 | 69.15 | 66.84 | 61.84 | 63.24 | 66.82 | 80.51 | 76.06
18 | 23.76 | 36.65 | 48.69 | 68.71 | 82.6 | 82.33 | 66.45 | 58.64 | 55.42 | 49.25 | 54.71
16 | 38.17 | 59.93 | 66.6 | 68.93 | 69.37 | 72.93 | 66.35 | 62.86 | 56.62 | 53.14 | 44.74
14 | 37.6 | 59.79 | 58.43 | 60.4 | 68.59 | 71.05 | 63.73 | 70.02 | 69.78 | 48.94 | 43.11
12 | 68.13 | 57.14 | 65.53 | 64.79 | 62.27 | 66.44 | 61.25 | 53.86 | 54.82 | 61.18 | 36.55
10 | 71.63 | 73.65 | 61.84 | 54.02 | 61.34 | 60.36 | 60.83 | 63.36 | 68.21 | 59.44 | 67
8 | 36.78 | 50.23 | 59.55 | 57.31 | 63.75 | 74.89 | 72.85 | 63.9 | 59.19 | 59.44 | 43.05
6 | 45.27 | 61.58 | 60.18 | 66.48 | 73.92 | 82.5 | 78.01 | 72.94 | 75.58 | 72.25 | 53.08
4 | 37.2 | 49.67 | 61.21 | 62.52 | 76.78 | 81.15 | 70.54 | 69.28 | 73.87 | 77.05 | 68.92
2 | 59.78 | 63.57 | 52.32 | 59.48 | 63.59 | 70.82 | 66 | 54.47 | 54.18 | 67.83 | 80.13 | 76.35
Control cups for estimation of evaporation:
Control 1, Location: Uppslope East (+5), dry weight: 14.7g | [5 empty] | Control 2, Location: Uppslope center (0), dry weight: 14.7g | [5 empty] | Control 3, Location: Uppslope West (-5), dry weight: 15.1g
Time | Minutes since rain end |  | weight [g] | evap. [g] |  | Time | Minutes since rain end |  | weight [g] | evap. [g] |  | Time | Minutes since rain end | weight [g] | evap. [g]
9:30 | 0 |  | 118.45 | 0 |  | 9:30 | 0 |  | 114.96 | 0 |  | 9:30 | 0 | 119.29 | 0
10:28 | 58 |  | 118.09 | -0.36 |  | 10:27 | 57 |  | 114.36 | -0.6 |  | 10:28 | 58 | 118.79 | -0.5
11:25 | 115 |  | 117.46 | -0.99 |  | 11:25 | 115 |  | 113.66 | -1.3 |  | 11:25 | 115 | 118.1 | -1.19
Control 4, Location: Downslope East (+5), dry weight: 14.7g | [5 empty] | Control 5, Location: Downslope West (-5), dry weight: 14.7g
Time | Minutes since rain end |  | weight [g] | evap. [g] |  | Time | Minutes since rain end |  | weight [g] | evap. [g]
9:30 | 0 |  | 101.07 | 0 |  | 9:30 | 0 |  | 107.2 | 0
10:30 | 60 |  | 100.57 | -0.5 |  | 10:30 | 60 |  | 106.54 | -0.66
11:28 | 118 |  | 99.84 | -1.23 |  | 11:29 | 119 |  | 105.76 | -1.44
Data for regression:
time [min] | 58 | 115 | 57 | 115 | 58 | 115 | 60 | 118 | 60 | 119
evap [g] | 0.36 | 0.99 | 0.6 | 1.3 | 0.5 | 1.19 | 0.5 | 1.23 | 0.66 | 1.44
Result (time 0 is forced to be 0) [g/min]:
0.010247 | 0
Assumed time since rain end (for cup collection, when sealed with sealing wrap) [min]
| -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | duplicate 5
28 | 25 | 25 | 44 | 44 | 63 | 63 | 81 | 81 | 99 | 99 | 102 | 102
26 | 23.8462 | 23.8462 | 42.9231 | 42.9231 | 61.9231 | 61.9231 | 80.1538 | 80.1538 | 98.1538 | 98.1538 | 102.5385
24 | 22.6923 | 22.6923 | 41.8462 | 41.8462 | 60.8462 | 60.8462 | 79.3077 | 79.3077 | 97.3077 | 97.3077 | 103.0769
22 | 21.5385 | 21.5385 | 40.7692 | 40.7692 | 59.7692 | 59.7692 | 78.4615 | 78.4615 | 96.4615 | 96.4615 | 103.6154
20 | 20.3846 | 20.3846 | 39.6923 | 39.6923 | 58.6923 | 58.6923 | 77.6154 | 77.6154 | 95.6154 | 95.6154 | 104.1538
18 | 19.2308 | 19.2308 | 38.6154 | 38.6154 | 57.6154 | 57.6154 | 76.7692 | 76.7692 | 94.7692 | 94.7692 | 104.6923
16 | 18.0769 | 18.0769 | 37.5385 | 37.5385 | 56.5385 | 56.5385 | 75.9231 | 75.9231 | 93.9231 | 93.9231 | 105.2308
14 | 16.9231 | 16.9231 | 36.4615 | 36.4615 | 55.4615 | 55.4615 | 75.0769 | 75.0769 | 93.0769 | 93.0769 | 105.7692
12 | 15.7692 | 15.7692 | 35.3846 | 35.3846 | 54.3846 | 54.3846 | 74.2308 | 74.2308 | 92.2308 | 92.2308 | 106.3077
10 | 14.6154 | 14.6154 | 34.3077 | 34.3077 | 53.3077 | 53.3077 | 73.3846 | 73.3846 | 91.3846 | 91.3846 | 106.8462
8 | 13.4615 | 13.4615 | 33.2308 | 33.2308 | 52.2308 | 52.2308 | 72.5385 | 72.5385 | 90.5385 | 90.5385 | 107.3846
6 | 12.3077 | 12.3077 | 32.1538 | 32.1538 | 51.1538 | 51.1538 | 71.6923 | 71.6923 | 89.6923 | 89.6923 | 107.9231
4 | 11.1538 | 11.1538 | 31.0769 | 31.0769 | 50.0769 | 50.0769 | 70.8462 | 70.8462 | 88.8462 | 88.8462 | 108.4615
2 | 10 | 10 | 30 | 30 | 49 | 49 | 70 | 70 | 88 | 88 | 109 | 109
Estimated Evaporation [g]
| -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | duplicate 5
28 | 0.25618 | 0.25618 | 0.45088 | 0.45088 | 0.64558 | 0.64558 | 0.83004 | 0.83004 | 1.0145 | 1.0145 | 1.0452 | 1.0452
26 | 0.24436 | 0.24436 | 0.43985 | 0.43985 | 0.63455 | 0.63455 | 0.82137 | 0.82137 | 1.0058 | 1.0058 | 1.0507
24 | 0.23254 | 0.23254 | 0.42881 | 0.42881 | 0.62351 | 0.62351 | 0.81269 | 0.81269 | 0.99715 | 0.99715 | 1.0563
22 | 0.22071 | 0.22071 | 0.41778 | 0.41778 | 0.61248 | 0.61248 | 0.80402 | 0.80402 | 0.98848 | 0.98848 | 1.0618
20 | 0.20889 | 0.20889 | 0.40674 | 0.40674 | 0.60144 | 0.60144 | 0.79535 | 0.79535 | 0.97981 | 0.97981 | 1.0673
18 | 0.19706 | 0.19706 | 0.39571 | 0.39571 | 0.59041 | 0.59041 | 0.78668 | 0.78668 | 0.97113 | 0.97113 | 1.0728
16 | 0.18524 | 0.18524 | 0.38467 | 0.38467 | 0.57937 | 0.57937 | 0.77801 | 0.77801 | 0.96246 | 0.96246 | 1.0783
14 | 0.17342 | 0.17342 | 0.37363 | 0.37363 | 0.56833 | 0.56833 | 0.76934 | 0.76934 | 0.95379 | 0.95379 | 1.0839
12 | 0.16159 | 0.16159 | 0.3626 | 0.3626 | 0.5573 | 0.5573 | 0.76067 | 0.76067 | 0.94512 | 0.94512 | 1.0894
10 | 0.14977 | 0.14977 | 0.35156 | 0.35156 | 0.54626 | 0.54626 | 0.752 | 0.752 | 0.93645 | 0.93645 | 1.0949
8 | 0.13795 | 0.13795 | 0.34053 | 0.34053 | 0.53523 | 0.53523 | 0.74333 | 0.74333 | 0.92778 | 0.92778 | 1.1004
6 | 0.12612 | 0.12612 | 0.32949 | 0.32949 | 0.52419 | 0.52419 | 0.73466 | 0.73466 | 0.91911 | 0.91911 | 1.1059
4 | 0.1143 | 0.1143 | 0.31846 | 0.31846 | 0.51316 | 0.51316 | 0.72599 | 0.72599 | 0.91044 | 0.91044 | 1.1114
2 | 0.10247 | 0.10247 | 0.30742 | 0.30742 | 0.50212 | 0.50212 | 0.71732 | 0.71732 | 0.90177 | 0.90177 | 1.117 | 1.117
rain weight [g] (wet weight + evaporation - dry weight)
| -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | duplicate 5
28 | 35.7662 | 53.4262 | 54.7009 | 55.1109 | 58.0856 | 61.9756 | 49.7 | 46.95 | 57.1545 | 69.3345 | 57.4452 | 48.7952
26 | 58.6644 | 68.3344 | 61.0498 | 56.4698 | 61.3845 | 70.0945 | 58.8714 | 55.9214 | 60.0758 | 68.1358 | 40.5907
24 | 29.0625 | 46.6025 | 55.7588 | 57.9988 | 60.8835 | 63.0735 | 59.2627 | 54.5427 | 57.2171 | 65.2971 | 46.4063
22 | 53.9207 | 53.2207 | 53.8978 | 50.7578 | 52.4425 | 54.6325 | 46.684 | 47.694 | 54.8085 | 60.4585 | 42.3918
20 | 46.1289 | 51.6989 | 60.8667 | 53.9967 | 54.6514 | 52.7414 | 47.6354 | 48.9354 | 53.0998 | 66.4898 | 62.3273
18 | 8.8571 | 21.7471 | 34.0857 | 54.1057 | 68.1904 | 67.9204 | 52.1367 | 44.3267 | 41.2911 | 35.5211 | 40.7828
16 | 23.6552 | 45.1152 | 51.9847 | 54.3147 | 54.8494 | 58.4094 | 52.028 | 48.638 | 42.4825 | 39.4025 | 30.8183
14 | 22.7734 | 44.9634 | 44.1036 | 46.0736 | 54.1583 | 56.8183 | 49.7993 | 56.0893 | 56.0338 | 34.8938 | 29.4939
12 | 53.2916 | 42.3016 | 51.1926 | 50.4526 | 47.8273 | 52.2973 | 47.0107 | 39.9207 | 40.6651 | 47.1251 | 22.6394
10 | 56.7798 | 59.0998 | 47.0916 | 39.6716 | 46.8863 | 45.9063 | 46.482 | 49.312 | 54.1465 | 45.3765 | 53.3949
8 | 21.8179 | 35.3679 | 45.1905 | 42.9505 | 49.2852 | 60.7252 | 58.4933 | 49.5433 | 45.1178 | 45.6678 | 29.4504
6 | 30.2961 | 47.0061 | 45.8095 | 51.8095 | 59.7442 | 68.0242 | 63.7447 | 58.9747 | 61.7991 | 58.4691 | 39.3859
4 | 22.6143 | 34.7843 | 46.7285 | 48.1385 | 62.2932 | 66.6632 | 56.566 | 55.306 | 60.0804 | 63.2604 | 55.2314
2 | 45.1825 | 48.9725 | 37.9274 | 45.0874 | 49.3921 | 56.5221 | 51.9173 | 40.4873 | 40.0818 | 53.6318 | 66.147 | 62.767
assumed area of cups [mm2]:
3850
rain rate [mm/h]
| -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | duplicate 5
28 | 9.2899 | 13.8769 | 14.208 | 14.3145 | 15.0872 | 16.0976 | 12.9091 | 12.1948 | 14.8453 | 18.009 | 14.9208 | 12.6741
26 | 15.2375 | 17.7492 | 15.8571 | 14.6675 | 15.944 | 18.2064 | 15.2913 | 14.525 | 15.6041 | 17.6976 | 10.5431
24 | 7.5487 | 12.1046 | 14.4828 | 15.0646 | 15.8139 | 16.3827 | 15.3929 | 14.1669 | 14.8616 | 16.9603 | 12.0536
22 | 14.0054 | 13.8236 | 13.9994 | 13.1838 | 13.6214 | 14.1903 | 12.1257 | 12.3881 | 14.236 | 15.7035 | 11.0109
20 | 11.9815 | 13.4283 | 15.8095 | 14.0251 | 14.1952 | 13.6991 | 12.3728 | 12.7105 | 13.7922 | 17.2701 | 16.1889
18 | 2.3005 | 5.6486 | 8.8534 | 14.0534 | 17.7118 | 17.6417 | 13.542 | 11.5134 | 10.725 | 9.2263 | 10.5929
16 | 6.1442 | 11.7182 | 13.5025 | 14.1077 | 14.2466 | 15.1713 | 13.5138 | 12.6332 | 11.0344 | 10.2344 | 8.0048
14 | 5.9152 | 11.6788 | 11.4555 | 11.9672 | 14.0671 | 14.758 | 12.9349 | 14.5687 | 14.5542 | 9.0633 | 7.6607
12 | 13.842 | 10.9874 | 13.2968 | 13.1046 | 12.4227 | 13.5837 | 12.2106 | 10.369 | 10.5624 | 12.2403 | 5.8804
10 | 14.748 | 15.3506 | 12.2316 | 10.3043 | 12.1783 | 11.9237 | 12.0732 | 12.8083 | 14.064 | 11.7861 | 13.8688
8 | 5.667 | 9.1865 | 11.7378 | 11.156 | 12.8014 | 15.7728 | 15.1931 | 12.8684 | 11.7189 | 11.8618 | 7.6495
6 | 7.8691 | 12.2094 | 11.8986 | 13.457 | 15.518 | 17.6686 | 16.5571 | 15.3181 | 16.0517 | 15.1868 | 10.2301
4 | 5.8738 | 9.0349 | 12.1373 | 12.5035 | 16.18 | 17.3151 | 14.6925 | 14.3652 | 15.6053 | 16.4313 | 14.3458
2 | 11.7357 | 12.7201 | 9.8513 | 11.711 | 12.8291 | 14.6811 | 13.485 | 10.5162 | 10.4108 | 13.9303 | 17.181 | 16.3031
| average | std
| 12.9959 | 2.87

## West
LEO Rainfall Distribution Calibration, Multi 1, West
2020-07-22
Rain duration: 1h (8:30 - 9:30)
Air handelers off during rain
Weight of empty cups [g]:
| -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | duplicate 5
28 | 14.7 | 14.7 | 15.1 | 14.7 | 14.8 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.8 | 15
26 | 15 | 14.7 | 15 | 14.7 | 15.1 | 15.1 | 15 | 14.8 | 14.7 | 15 | 15
24 | 15 | 15.1 | 15 | 14.9 | 14.7 | 14.7 | 14.7 | 15 | 15 | 15.1 | 14.8
22 | 15 | 15.1 | 15.1 | 14.7 | 15.1 | 15 | 15 | 14.7 | 15.1 | 15 | 14.7
20 | 14.7 | 15.1 | 15 | 14.7 | 15.1 | 14.7 | 15 | 15.1 | 14.7 | 15 | 14.8
18 | 15.1 | 15.1 | 15 | 15 | 15 | 15 | 15.1 | 15.1 | 15.1 | 14.7 | 15
16 | 14.7 | 15 | 15 | 15 | 15.1 | 15.1 | 15.1 | 15 | 15.1 | 14.7 | 15
14 | 15 | 15 | 14.7 | 14.7 | 15 | 14.8 | 14.7 | 14.7 | 14.7 | 15 | 14.7
12 | 15 | 15 | 14.7 | 14.7 | 15 | 14.7 | 15 | 14.7 | 15.1 | 15 | 15
10 | 15 | 14.7 | 15.1 | 14.7 | 15 | 15 | 15.1 | 14.8 | 15 | 15 | 14.7
8 | 15.1 | 15 | 14.7 | 14.7 | 15 | 14.7 | 15.1 | 15.1 | 15 | 14.7 | 14.7 | 15 | location is 2 , 4.5
6 | 15.1 | 14.7 | 14.7 | 15 | 14.7 | 15 | 15 | 14.7 | 14.7 | 14.7 | 14.8 | 15 | location is 3 , 5
4 | 14.7 | 15 | 14.8 | 14.7 | 15 | 15 | 14.7 | 14.7 | 14.7 | 14.7 | 14.8 | 15 | location is 2.5 , 5
2 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.8 | 14.8 | 14.7 | 15 | 15.1 | 15.1 | 14.7
Weight of full cups [g]:
| -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | duplicate 5 |  |  | Comments:
28 | 65.16 | 86.49 | 69.91 | 52.52 | 61.81 | 80.43 | 77.94 | 72.16 | 67.35 | 71.29 | 82.43 | 81.17 |  |  | Cup 6,5 was dropped during collection, no data
26 | 65.4 | 72.53 | 66.19 | 72.41 | 64.89 | 67.67 | 75.67 | 81.59 | 80.71 | 61.96 | 66.71 |  |  |  | Cup 12,-1 was dropped when sealed with cling wrap, no error expected
24 | 47.66 | 57.98 | 64.87 | 72.5 | 66.17 | 74.83 | 73.08 | 67.8 | 61.18 | 65.82 | 56.21
22 | 42.32 | 84.54 | 69.52 | 73.28 | 67.82 | 71.26 | 65.22 | 59.38 | 62.63 | 70.45 | 57.34
20 | 73.47 | 73.14 | 71.28 | 63.12 | 64.25 | 64.87 | 64.11 | 68.63 | 70.25 | 75.74 | 78.02
18 | 42.82 | 56.13 | 65.82 | 65.53 | 64.76 | 80.41 | 81 | 73.72 | 68.2 | 63.29 | 43.66
16 | 47.63 | 70.99 | 68.08 | 74.85 | 69.04 | 73.75 | 66.42 | 63.91 | 63.73 | 56.32 | 40.5
14 | 37.95 | 66.87 | 72.8 | 72.48 | 71.54 | 75.72 | 65.47 | 60.13 | 64 | 64.33 | 47.43
12 | 54.4 | 70.56 | 71.92 | 66.75 | 62.94 | 67.12 | 63.01 | 56.41 | 59.88 | 58.17 | 33.16
10 | 62.66 | 55.7 | 67.87 | 73.82 | 69.75 | 59.24 | 51.75 | 57.97 | 66.19 | 68.88 | 55.75
8 | 28.86 | 72.34 | 65.34 | 66.83 | 65.58 | 66.41 | 62.07 | 63.58 | 62.42 | 63.57 | 49.56 | 40.32 | location is 2 , 4.5
6 | 56.25 | 78.31 | 77.89 | 77.47 | 75.71 | 80.71 | 69.2 | 62.32 | 62.11 | 51.34 | nan | 31.02 | location is 3 , 5
4 | 60.15 | 79.76 | 80.29 | 80.2 | 76.05 | 80.47 | 69.91 | 59.09 | 59.34 | 53.31 | 46.26 | 26.79 | location is 2.5 , 5
2 | 55.54 | 68.87 | 65.73 | 61.66 | 57.04 | 56.61 | 54.92 | 52.5 | 53.93 | 51.46 | 27.75 | 30.17
Control cups for estimation of evaporation:
Control 1, Location: Uppslope East (+5), dry weight: 14.7g | [5 empty] | Control 2, Location: Uppslope center (0), dry weight: 14.7g | [5 empty] | Control 3, Location: Uppslope West (-5), dry weight: 15.1g
Time | Minutes since rain end |  | weight [g] | evap. [g] |  | Time | Minutes since rain end |  | weight [g] | evap. [g] |  | Time | Minutes since rain end |  | weight [g] | evap. [g]
9:34 | 4 |  | 95.24 | 0 |  | 9:33 | 3 |  | 101.47 | 0 |  | 9:34 | 4 |  | 101.43 | 0
10:39 | 69 |  | 94.59 | -0.65 |  | 10:40 | 70 |  | 100.48 | -0.99 |  | 10:40 | 70 |  | 100.57 | -0.86
14:48 | 318 |  | 91.42 | -3.82 |  | 14:49 | 319 |  | 96.27 | -5.2 |  | 14:49 | 319 |  | 96.81 | -4.62
15:51 | 381 |  | 90.41 | -4.83 |  | 15:50 | 380 |  | 95.22 | -6.25 |  | 15:50 | 380 |  | 95.81 | -5.62
Control 4, Location: Downslope East (+5), dry weight: 14.7g | [5 empty] | Control 5, Location: Downslope West (-5), dry weight: 14.7g
Time | Minutes since rain end |  | weight [g] | evap. [g] |  | Time | Minutes since rain end |  | weight [g] | evap. [g]
9:33 | 3 |  | 114.54 | 0 |  | 9:33 | 3 |  | 109.35 | 0
10:42 | 72 |  | 113.09 | -1.45 |  | 10:42 | 72 |  | 107.81 | -1.54
14:50 | 320 |  | 105.87 | -8.67 |  | 14:50 | 320 |  | 100.48 | -8.87
15:54 | 384 |  | 104.16 | -10.38 |  | 15:53 | 383 |  | 98.75 | -10.6
Data for regression:
time [min] | 65 | 314 | 377 | 67 | 316 | 377 | 66 | 315 | 376 | 69 | 317 | 381 | 69 | 317 | 380
evap [g] | 0.65 | 0.382 | 4.83 | 0.99 | 5.2 | 6.25 | 0.86 | 4.62 | 5.62 | 1.45 | 8.67 | 10.38 | 1.54 | 8.87 | 10.6
Result (time 0 is forced to be 0) [g/min]:
0.018944 | 0
Assumed time since rain end (for cup collection, when sealed with sealing wrap) [min]
| -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | duplicate 5
28 | 23 | 23 | 24 | 359 | 359 | 363 | 363.4545 | 363.9091 | 364.3636 | 364.8182 | 365.2727 | 365.7273
26 | 22.0769 | 22.0769 | 24.4615 | 40 | 357.8333 | 357.8333 | 368 | 367.5455 | 367.0909 | 366.6364 | 366.1818
24 | 21.1538 | 21.1538 | 24.9231 | 39.1667 | 356.6667 | 356.6667 | 368.4 | 368.8 | 369.2 | 369.6 | 370
22 | 20.2308 | 20.2308 | 25.3846 | 38.3333 | 355.5 | 355.5 | 372 | 371.6 | 371.2 | 370.8 | 370.4
20 | 19.3077 | 19.3077 | 25.8462 | 37.5 | 354.3333 | 354.3333 | 372.5 | 373 | 373.5 | 374 | 374.5
18 | 18.3846 | 18.3846 | 26.3077 | 36.6667 | 353.1667 | 353.1667 | 377 | 376.5 | 376 | 375.5 | 375
16 | 17.4615 | 17.4615 | 26.7692 | 35.8333 | 352 | 351.4444 | 350.8889 | 350.3333 | 349.7778 | 349.2222 | 348.6667
14 | 16.5385 | 16.5385 | 27.2308 | 35 | 344.7778 | 345.3333 | 345.8889 | 346.4444 | 347 | 347.5556 | 348.1111
12 | 15.6154 | 15.6154 | 27.6923 | 34.1667 | 344.2222 | 343.6667 | 343.1111 | 342.5556 | 342 | 341.4444 | 340.8889
10 | 14.6923 | 14.6923 | 28.1538 | 33.3333 | 337 | 337.5556 | 338.1111 | 338.6667 | 339.2222 | 339.7778 | 340.3333
8 | 13.7692 | 13.7692 | 28.6154 | 32.5 | 336.4444 | 335.8889 | 335.3333 | 334.7778 | 334.2222 | 333.6667 | 333.1111 | 383.5 | location is 2 , 4.5
6 | 12.8462 | 12.8462 | 29.0769 | 31.6667 | 329.2222 | 329.7778 | 330.3333 | 330.8889 | 331.4444 | 332 | 332.5556 | 383.5 | location is 3 , 5
4 | 11.9231 | 11.9231 | 29.5385 | 30.8333 | 328.1111 | 328.1111 | 380 | 380.7 | 381.4 | 382.1 | 382.8 | 383.5 | location is 2.5 , 5
2 | 11 | 11 | 30 | 30 | 327 | 327 | 387 | 386.3 | 385.6 | 384.9 | 384.2 | 383.5
Estimated Evaporation [g]
| -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | duplicate 5
28 | 0.43572 | 0.43572 | 0.45466 | 6.8009 | 6.8009 | 6.8767 | 6.8853 | 6.8939 | 6.9026 | 6.9112 | 6.9198 | 6.9284
26 | 0.41823 | 0.41823 | 0.4634 | 0.75777 | 6.7788 | 6.7788 | 6.9714 | 6.9628 | 6.9542 | 6.9456 | 6.937
24 | 0.40074 | 0.40074 | 0.47215 | 0.74198 | 6.7567 | 6.7567 | 6.979 | 6.9866 | 6.9942 | 7.0018 | 7.0093
22 | 0.38325 | 0.38325 | 0.48089 | 0.72619 | 6.7346 | 6.7346 | 7.0472 | 7.0396 | 7.0321 | 7.0245 | 7.0169
20 | 0.36577 | 0.36577 | 0.48963 | 0.71041 | 6.7125 | 6.7125 | 7.0567 | 7.0662 | 7.0756 | 7.0851 | 7.0946
18 | 0.34828 | 0.34828 | 0.49838 | 0.69462 | 6.6904 | 6.6904 | 7.1419 | 7.1325 | 7.123 | 7.1135 | 7.1041
16 | 0.33079 | 0.33079 | 0.50712 | 0.67883 | 6.6683 | 6.6578 | 6.6473 | 6.6368 | 6.6262 | 6.6157 | 6.6052
14 | 0.31331 | 0.31331 | 0.51586 | 0.66305 | 6.5315 | 6.542 | 6.5526 | 6.5631 | 6.5736 | 6.5841 | 6.5947
12 | 0.29582 | 0.29582 | 0.52461 | 0.64726 | 6.521 | 6.5105 | 6.4999 | 6.4894 | 6.4789 | 6.4684 | 6.4578
10 | 0.27833 | 0.27833 | 0.53335 | 0.63147 | 6.3842 | 6.3947 | 6.4052 | 6.4158 | 6.4263 | 6.4368 | 6.4473
8 | 0.26085 | 0.26085 | 0.54209 | 0.61568 | 6.3737 | 6.3631 | 6.3526 | 6.3421 | 6.3316 | 6.321 | 6.3105 | 7.2651 | location is 2 , 4.5
6 | 0.24336 | 0.24336 | 0.55084 | 0.5999 | 6.2368 | 6.2474 | 6.2579 | 6.2684 | 6.2789 | 6.2895 | 6.3 | 7.2651 | location is 3 , 5
4 | 0.22587 | 0.22587 | 0.55958 | 0.58411 | 6.2158 | 6.2158 | 7.1988 | 7.212 | 7.2253 | 7.2386 | 7.2518 | 7.2651 | location is 2.5 , 5
2 | 0.20839 | 0.20839 | 0.56832 | 0.56832 | 6.1947 | 6.1947 | 7.3314 | 7.3181 | 7.3049 | 7.2916 | 7.2783 | 7.2651
rain weight [g] (wet weight + evaporation - dry weight)
| -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | duplicate 5
28 | 50.8957 | 72.2257 | 55.2647 | 44.6209 | 53.8109 | 72.6067 | 70.1253 | 64.3539 | 59.5526 | 63.5012 | 74.5498 | 73.0984
26 | 50.8182 | 58.2482 | 51.6534 | 58.4678 | 56.5688 | 59.3488 | 67.6414 | 73.7528 | 72.9642 | 53.9056 | 58.647
24 | 33.0607 | 43.2807 | 50.3421 | 58.342 | 58.2267 | 66.8867 | 65.359 | 59.7866 | 53.1742 | 57.7218 | 48.4193
22 | 27.7033 | 69.8233 | 54.9009 | 59.3062 | 59.4546 | 62.9946 | 57.2672 | 51.7196 | 54.5621 | 62.4745 | 49.6569
20 | 59.1358 | 58.4058 | 56.7696 | 49.1304 | 55.8625 | 56.8825 | 56.1667 | 60.5962 | 62.6256 | 67.8251 | 70.3146
18 | 28.0683 | 41.3783 | 51.3184 | 51.2246 | 56.4504 | 72.1004 | 73.0419 | 65.7525 | 60.223 | 55.7035 | 35.7641
16 | 33.2608 | 56.3208 | 53.5871 | 60.5288 | 60.6083 | 65.3078 | 57.9673 | 55.5468 | 55.2562 | 48.2357 | 32.1052
14 | 23.2633 | 52.1833 | 58.6159 | 58.443 | 63.0715 | 67.462 | 57.3226 | 51.9931 | 55.8736 | 55.9141 | 39.3247
12 | 39.6958 | 55.8558 | 57.7446 | 52.6973 | 54.461 | 58.9305 | 54.5099 | 48.1994 | 51.2589 | 49.6384 | 24.6178
10 | 47.9383 | 41.2783 | 53.3034 | 59.7515 | 61.1342 | 50.6347 | 43.0552 | 49.5858 | 57.6163 | 60.3168 | 47.4973
8 | 14.0208 | 57.6008 | 51.1821 | 52.7457 | 56.9537 | 58.0731 | 53.3226 | 54.8221 | 53.7516 | 55.191 | 41.1705 | 32.5851 | location is 2 , 4.5
6 | 41.3934 | 63.8534 | 63.7408 | 63.0699 | 67.2468 | 71.9574 | 60.4579 | 53.8884 | 53.6889 | 42.9295 | #VALUE! | 23.2851 | location is 3 , 5
4 | 45.6759 | 64.9859 | 66.0496 | 66.0841 | 67.2658 | 71.6858 | 62.4088 | 51.602 | 51.8653 | 45.8486 | 38.7118 | 19.0551 | location is 2.5 , 5
2 | 41.0484 | 54.3784 | 51.5983 | 47.5283 | 48.5347 | 48.0047 | 47.4514 | 45.1181 | 46.2349 | 43.6516 | 19.9283 | 22.7351
assumed area of cups [mm2]:
3850
rain rate [mm/h]
| -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | duplicate 5
28 | 13.2197 | 18.7599 | 14.3545 | 11.5899 | 13.9769 | 18.8589 | 18.2144 | 16.7153 | 15.4682 | 16.4938 | 19.3636 | 18.9866
26 | 13.1995 | 15.1294 | 13.4165 | 15.1864 | 14.6932 | 15.4153 | 17.5692 | 19.1566 | 18.9517 | 14.0015 | 15.233
24 | 8.5872 | 11.2418 | 13.0759 | 15.1538 | 15.1238 | 17.3732 | 16.9764 | 15.529 | 13.8115 | 14.9927 | 12.5765
22 | 7.1957 | 18.1359 | 14.26 | 15.4042 | 15.4428 | 16.3622 | 14.8746 | 13.4337 | 14.172 | 16.2271 | 12.8979
20 | 15.3599 | 15.1703 | 14.7454 | 12.7611 | 14.5098 | 14.7747 | 14.5888 | 15.7393 | 16.2664 | 17.6169 | 18.2635
18 | 7.2905 | 10.7476 | 13.3294 | 13.3051 | 14.6625 | 18.7274 | 18.9719 | 17.0786 | 15.6423 | 14.4684 | 9.2894
16 | 8.6392 | 14.6288 | 13.9187 | 15.7218 | 15.7424 | 16.9631 | 15.0564 | 14.4277 | 14.3523 | 12.5288 | 8.339
14 | 6.0424 | 13.5541 | 15.2249 | 15.18 | 16.3822 | 17.5226 | 14.889 | 13.5047 | 14.5126 | 14.5232 | 10.2142
12 | 10.3106 | 14.508 | 14.9986 | 13.6876 | 14.1457 | 15.3066 | 14.1584 | 12.5193 | 13.314 | 12.8931 | 6.3942
10 | 12.4515 | 10.7216 | 13.845 | 15.5199 | 15.879 | 13.1519 | 11.1832 | 12.8794 | 14.9653 | 15.6667 | 12.337
8 | 3.6418 | 14.9613 | 13.2941 | 13.7002 | 14.7932 | 15.0839 | 13.85 | 14.2395 | 13.9614 | 14.3353 | 10.6936 | 8.4637 | location is 2 , 4.5
6 | 10.7515 | 16.5853 | 16.5561 | 16.3818 | 17.4667 | 18.6902 | 15.7033 | 13.997 | 13.9452 | 11.1505 | #VALUE! | 6.0481 | location is 3 , 5
4 | 11.8639 | 16.8794 | 17.1557 | 17.1647 | 17.4716 | 18.6197 | 16.2101 | 13.4031 | 13.4715 | 11.9087 | 10.055 | 4.9494 | location is 2.5 , 5
2 | 10.6619 | 14.1243 | 13.4022 | 12.345 | 12.6064 | 12.4688 | 12.325 | 11.719 | 12.0091 | 11.3381 | 5.1762 | 5.9052
| average | std
| 14.1437 | 2.8232